# | Suggested Specifications | Section 10 19 00

# Vinyl Shower Curtains

Part 1 – General

  - Related Documents

- Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 1 Specification Sections, apply to this Section.

  - Summary

- This section includes the following:

- Vinyl shower curtains

1.03	Performance Requirements

- Curtains:  Provide curtain fabrics with the following characteristics:

- Fabrics are flame resistant and are identical to those that have passed NFPA 701 when tested by a testing and inspecting agency acceptable to authorities having jurisdiction (AHJ).

  - Submittals

- Product Data: Submit copies of manufacturer’s detailed technical data for materials, fabrication, and physical appearance.

- Shop Drawings: Show layout and types of cubicle curtains, sizes of curtains, and number of carriers.

- Samples for Verification: Provide samples of the following

- Curtain Fabric:  12-inch square swatch or larger sample as required to show complete pattern repeat, from dye lot used for the work, with specified treatments applied.

  - Warranty

- Provide copy of manufacturer’s standard warranty.

Part 2 - Products

2.01	Manufacturers

- Subject to compliance with the requirements listed, provide cubicle curtains from the following manufacturer:

- CS Cubicle Curtains, a Division of Construction Specialties, Inc.

3 Werner Way

Lebanon, NJ 08833

P: (800) 416 - 1102

CCInfo@c-sgroup.com

www.c-sgroup.com

- Alternative manufacturers will not be accepted

2.02	Materials

- Shower Curtain:

- Fabric:  Fabric to be vinyl, intrinsically fire retardant, and antimicrobial.

2.03	Pattern and Color

<**Note to specifier – please select one of the following standard colors for shower curtains>

- Shower Curtain Fabric: Fabric to be CS Sure-Check linen fabric in the following color:

- Light Blue

- Bordeaux

- Dune

- Mint

- Muave

- Fawn

- Yellow

- Translucent

- White

- Seafoam

2.04	Fabrication

- Shower Curtains to be fabricated as follows:

- Width:  Equal to track (or shower curtain rod) length from which curtain is hung plus 10 percent, but not less than 12" (300 mm).

- Length:  Equal to floor-to-ceiling (or shower rod-to-floor) height minus 2" from finished ceiling at top and 1" above finished floor.

- Top Hem:  Not less than 1" (26 mm) and not more than 1 ½" (40 mm) wide, triple thickness, reinforced with integral web and double stitched.

  - Grommets:  2 piece, rolled-edge, rustproof, nickel-plated brass and spaced not more than 6" (150 mm) o.c.

- Bottom and Side Hems:  Not less than 1" (25 mm) wide, reinforced, triple thickness and single stitched.

- Seams:  Not less than ½" (13 mm) wide, double turned and double stitched.

- Curtain Tieback:  At each termination.

Part 3 – Execution

3.01	Examination

- Examine areas and conditions in which the cubicle track system will be installed

1. 	Complete all finishing operations, including painting, before beginning installation of cubicle tracking system materials.

- Verify that surfaces and above ceiling supports are ready to receive work.

3.02	Cleaning

- At completion of the installation, remove any debris and clean surfaces in accordance with CS cleaning and maintenance instructions.

END OF SECTION