# Hookless Shower Curtains

Suggested Specifications | Section 10 21 23

Part 1 – General

  - Related Documents

- Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 1 Specification Sections, apply to this Section.

  - Summary

- This section includes the following:

- Hookless shower curtains

1.03	Performance Requirements

- Curtains:  Provide curtain fabrics with the following characteristics:

- Polyester fabrics are launderable at temperatures of 140 degrees F (60 Deg C).

- CS does not recommend washing vinyl shower curtains in a washing machine. Instead, vinyl curtains should be wiped down with warm, soapy water and then thoroughly rinsed. Allow the curtain to completely air dry before next use (if possible).

  - Submittals

- Product Data: Submit copies of manufacturer’s detailed technical data for materials, fabrication, and physical appearance.

- Shop Drawings: Show layout and types of cubicle curtains, sizes of curtains, and number of carriers.

- Samples for Verification: Provide samples of the following:

- Curtain Fabric:  12-inch square swatch or larger sample as required to show complete pattern repeat, from dye lot used for the work, with specified treatments applied.

  - Warranty

- Provide copy of manufacturer’s standard warranty.

Part 2 - Products

  - 2.01	Manufacturer

A. Basis of Design - manufactured by Construction Specialties Subject to compliance with the requirements listed, provide cubicle curtains from the following manufacturer:

Construction Specialties, 3 Werner Way, Lebanon, NJ  08833. Tel:  800.233.8493. Email: cet@c-sgroup.com   No substitutions.

B. Drawings and specifications are based on manufacturer’s literature from Construction Specialties, Inc. drawings and specifications unless otherwise indicated. Other manufacturers must be approved equal by Architect/Owner.

2.02	Materials

- Shower Curtain:

- Fabric:  Fabric to be non-vinyl, and antimicrobial.

2.03	Pattern and Color

<**Note to specifier – please select one of the following standard colors for Hookless shower curtains>

- Shower Curtain Fabric: Fabric in the following pattern/color:

  - Pin Dot (Eight Gauge Vinyl).

1) 	Color: Beige – Size: 42” x 74”

2) 	Color: White - Sizes: 71” x 80”, 71” x 74” or 42” x 74”

  - Litchfield (100% Polyester)

1) 	Color: White – Sizes: 71” x 74” or 42´x 74”

2) 	Color: Beige – Sizes: 71” x 74” or 42” x 74”

  - Mini-Square (100% Polyester, Fire Retardant, meets NFPA 701))

1) 	Color: Beige. Sizes: 42” x 74” or 71” x 74”

2) 	Color: Sage Size: 42” x 74”

  - Mystery with Sheer Window (100%Polyester)

1) 	Color: White – Size: 71’ x 74”

2) 	Color: Beige – Size: 71” x 74”

3) 	Color: Sage – Size:  71” x 74”

2.04	Fabrication

- Shower Curtains to be fabricated as follows:

a) 	Panel Size:

1) 	71” x 74”

2) 	42” x 74”

3) 	Custom: ________

Part 3 – Execution

3.01	Examination

- Examine areas and conditions in which the shower curtain will be installed

1. 	Complete all finishing operations, including painting, before beginning installation of shower curtain and curtain rod/track materials.

- Verify that surfaces and above ceiling supports are ready to receive work.

3.02	Cleaning

- At completion of the installation, remove any debris and clean surfaces in accordance with CS cleaning

and maintenance instructions.

END OF SECTION